# Solar shading system
DUCO Ventilation & Sun Control
DucoSun Cubic 200x48 Multifit

## Description

Permanent external shading system made of aluminium. The blades are mounted on site in the supporting structure (horizontally or vertically). The Cubic 200x48 is a wider version of the Cubic 200.

Fastening is done with the patented Multifit system. This system consists of one base and a fork. The gearing between the two parts allows for 7 different positions. The inclination angle is adjustable during mounting.

## Version

### Blade

- Blade type		Cubic 200x48

- Shape of blade	rectangular

- Blade height		200 mm

- Blade width		48 mm

### Bracket

- Type			Multifit Cubic

- Inclination angle	-45°, -30°, -15°, 0°, 15°, 30° or 45°

- Height			90 mm

- Width			120 mm

### Blade fixation

- 2 x hexagon socket countersunk head screw DIN 7991 M5 x 70

- 2 x washer DIN 125-1A M5

- 2 x lock nut DIN 985 M5

### Bracket fixation

| Type | Material |
| --- | --- |
| Directly on supporting structure | - 3 x hexagon head bolt DIN 933 M8 x 20 - 3 x washer DIN 125-1A M8 - 3 x square taper washer DIN 434 M8 (optional) |
| On DUCO mullion | - 3 x hexagon head bolt DIN 933 M8 x 20 - 3 x washer DIN 125-1A M8 - 3 x nut plate M8 |

### Accessories

- Coverplates available

  - Aluminium AlMg3, lasered, 3 mm thick

## Material and surface treatment

### Blade

- Aluminium		EN AW-6063 T66 (EN 573-3)

Profile thickness: min. 1.8 mm

- Finish

  - Natural anodised (15-20 μm) according to Qualanod

  - Polyester powder coated (60-80 μm) according to Qualicoat Seaside type A (specific RAL codes or textured paint on request)

### Bracket

- Aluminium		EN AW-6063 T66 (EN 573-3)

- Finish

  - Polyester powder coated (60-80 μm) according to Qualicoat Seaside type A (specific RAL codes or textured paint on request)

## Technical specifications

### Strength calculation

According to EN 1990, EN 1991, EN 1999